Report on the Physical Count of

Pulmonary Care Unit Equipment and

Their Present Status as of June 26,2011

Donated Ventilators

- 3 Bear Cub Infant Ventilator

Serial Nos. 	41382 - Functional

41252 - Functional

45912 - Functional

- 3 Unit Ventilator, PB Puritan Bennett 7200 Series

Tag No.5 Serial Nos. 9373 JEB 15253 - Functional

Tag No.2 Serial No. C0271674 – For Check-up

Tag No.3 Serial No. C0271693 – Undeliverd

-1 PB Ventilator undelivered for repair of Reset Biomedical Enterprises.

- 1 Newport E100M Ventilator 	  - Requested For General Calibration and Functional test.

- Checked by MID/EAST SCIENTIFIC MEDICAL Equipment      Services

INC last September 29, 2010.

Description of trouble – low pressure (compressor)

Remarks/ Recommendation

- Unit Operational

- Compressor Pressure needs adjustment

- 3 Unit Compressor Nebulizer  		=Donated by Newera Rental Company ( Functional)

- Clean Dryer Model 23, SN 5492 	= Functional

Pulmonary Care Unit

June 2011

Head: 	Nazario A. Macalintal Jr. MD, FPCP, FPCCP

Chief, Respiratory Therapist: Marilyn A. Nicolas R.T.

Respiratory Therapist Staff:

Remedios F. Molina		R.T.

Luningning V. Villo		R.T.

Jaime B. Paat Jr.		R.T.

Reggielyn B. Santayana		R.T.

Jannette P. San Gabriel		R.T.

Aileen Mae C. Punzalan		R.T.

Gryan A. Dabe			R.T.

Jocelyn C. Nacu		R.T.

Census for the Month of

January – May 2011

Subject:

- Census for in patient given an Aerosol Therapy

- Census for in patient given Incentive Spirometry

- Census for in patient provided by Mechanical Ventilator

- Supply needs and deficits.

Census for the Month of

January – May 2011

Serviced Offered:	Aerosol Therapy

Subject :	Census for Inpatient only

Pulmo Aide (3 units)

Month		Total No. Of Patient’s

January			1,017

February			934

March			935

April			782

May			791

Census for the Month of

January – May 2011

For  Inpatient given Incentive Spirometry

Month				I.S.

January				9

February								0

March									2

April									36

May									35

Census for the Month of

January – May 2011

Patients Hooked to Ventilators

Service Offered :  Mechanical Ventilation

Subject : Census of Patients Hooked to Ventilators

Machine Used : Ventilator from Rental Companies and donated Machines

Month		Adult Patients			Pediatric & Neonatal Patients

January   	 			76					63

February		92					34

March		88					29

April	94					82

May	45					97

Census for Indigent patients given a mechanical ventilation of hospital ventilators

From January 1 – June 21, 2011 = 54 patients

June 2011

Supply Needs and Deficits

-	Pulse oximeter ( for O2 Sat Monitoring especially on ventilated patient)

-	Arterial Blood Gas Analizer (ABG Machine)

-	Neonatal Breathing Circuit

- 	O2 Hood

Additional Pulmo Aide Nebulizers

For:

Medical Ward  		#4

Pedia Ward       		#4

Med. ICU 		#2

PICU			#2

- Incentive Spirometer

Quotation (350.00) Health Tech

- Wrights Respirometer (for tidal volume measurement)

- Test Lung #1 for pedia

- All purpose nebulizer (for T-piece)

Quotation P.195/pc. (Airlife life link)

- (O2) pressure Gauge

50 psi

- (Air) pressure Gauge

50 psi